## Sheet1
Object Name | Value | Units | Min | Max
BOILER ENABLE | Boiler Enable | - | 0 | 1
TANK THERMOSTAT | Tank Thermostat | - | 0 | 1
MANUAL RESET HIGH LIMIT | Manual Reset High Limit | - | 0 | 1
FLOW SWITCH | Flow Switch | - | 0 | 1
GAS PRESSURE SWITCH | Gas Pressure Switch | - | 0 | 1
LOUVER PROVING SWITCH | Louver Proving Switch | - | 0 | 1
AIR PRESSURE SWITCH | Air Pressure Switch | - | 0 | 1
BLOCKED DRAIN SWITCH | Blocked Drain Switch | - | 0 | 1
FLAME 1 | Flame 1 | - | 0 | 1
ENABLE | Enable | - | 0 | 1
TANK THERMOSTAT | Tank Thermostat | - | 0 | 1
FAN 1 PROVING SWITCH | Fan 1 Proving Switch | - | 0 | 1
FAN 2 PROVING SWITCH | Fan 2 Proving Switch | - | 0 | 1
FLUE DAMPER SWITCH | Flue Damper Switch | - | 0 | 1
FLAME 2 | Flame 2 | - | 0 | 1
RUN TIME CONTACTS | Run Time Contacts | - | 0 | 1
ALARM CONTACTS | Alarm Contacts | - | 0 | 1
BOILER PUMP | Boiler Pump | - | 0 | 1
DHW PUMP | DHW Pump | - | 0 | 1
LOUVER RELAY | Louver Relay | - | 0 | 1
GAS VALVE 1 | Gas Valve 1 | - | 0 | 1
SYSTEM PUMP | System Pump | - | 0 | 1
FLUE DAMPER OUTPUT | Flue Damper Output | - | 0 | 1
GAS VALVE 2 | Gas Valve 2 | - | 0 | 1
TRANSITION GAS VALVE** | Transition Gas Valve** | - | 0 | 1
MAIN FAN 1 | Main Fan 1 | - | 0 | 1
MAIN FAN 2* | Main Fan 2* | - | 0 | 1
EXTERNAL SPARK / HSI | External Spark / HSI | - | 0 | 1
AIR VALVE TRIGGER** | Air Valve Trigger** | - | 0 | 1
AIR VALVE PROVING** | Air Valve Proving** | - | 0 | 1
BINARY INPUTS 0-15 | Binary Inputs 0-15 | - | 0 | 65535
BINARY INPUTS 16-31 | Binary Inputs 16-31 | - | 0 | 65535
BINARY INPUTS 32-47 | Binary Inputs 32-47 | - | 0 | 65535
SYSTEM / CASCADE SETPOINT | System / Cascade Setpoint | °c | 0 | 130
SYSTEM PUMP SPEED | System Pump Speed | % | 0 | 100
CASCADE TOTAL POWER | Cascade Total Power | % | 100 | 800
CASCADE CURRENT POWER | Cascade Current Power | % | 0 | 800
OUTLET SETPOINT | Outlet Setpoint | °c | 0 | 130
OUTLET TEMPERATURE | Outlet Temperature | °c | 0 | 130
INLET TEMPERATURE | Inlet Temperature | °c | -20 | 130
FLUE TEMPERATURE | Flue Temperature | °c | -20 | 130
FIRING RATE | Firing Rate | % | 0 | 100
BOILER PUMP SPEED | Boiler Pump Speed | % | 0 | 100
BOILER STATUS CODE | Boiler Status Code | - | 0 | 65535
BOILER BLOCKING CODE | Boiler Blocking Code | - | 0 | 65535
BOILER LOCKOUT CODE | Boiler Lockout Code | - | 0 | 65535
BINARY INPUTS 48-63 | Binary Inputs 48-63 | - | 0 | 65535
LOCK-OUT ERROR LEADER | Lock-Out Error Leader | - | 0 | 1
LOCK-OUT ERROR MEMBER 1 | Lock-Out Error Member 1 | - | 0 | 1
LOCK-OUT ERROR MEMBER 2 | Lock-Out Error Member 2 | - | 0 | 1
LOCK-OUT ERROR MEMBER 3 | Lock-Out Error Member 3 | - | 0 | 1
LOCK-OUT ERROR MEMBER 4 | Lock-Out Error Member 4 | - | 0 | 1
LOCK-OUT ERROR MEMBER 5 | Lock-Out Error Member 5 | - | 0 | 1
LOCK-OUT ERROR MEMBER 6 | Lock-Out Error Member 6 | - | 0 | 1
LOCK-OUT ERROR MEMBER 7 | Lock-Out Error Member 7 | - | 0 | 1
CONFIGURATION | Configuration | - | 0 | 65535
COILS | Coils | - | 0 | 65535
SETPOINT COMMAND | 0-10 Volt Input / Rate Command / Setpoint Command | % | 0 | 100
TANK SETPOINT | Tank Setpoint | °c | 0 | 87,5
TANK TEMPERATURE | Tank Temperature | °c | -20 | 130
OUTDOOR TEMPERATURE | Outdoor Temperature | °c | -40 | 60
SYSTEM SUPPLY TEMPERATURE | System Supply Temperature | °c | -20 | 130
SYSTEM RETURN TEMPERATURE | System Return Temperature | °c | -20 | 130