## Sheet1
Object Type | Point Name | BACnet Object Name
Analog Input | C1C1 Discharge Ref Temp | C1Comp1DischargeTemp
Analog Input | C1C1 Current | C1Comp1Current
Analog Input | C1C1 Discharge Ref Pres | C1Comp1DischRefPres
Analog Input | C1C1 Oil Feed Pres | C1Comp1OilFeedPres
Analog Input | C1C1 Percent RLA | C1Comp1MotorCurrentPercent
Analog Input | C1C1 Power | C1Comp1Kilowatts
Analog Input | C1C1 Suc Ref Pres | C1Comp1SucPres
Analog Input | C1C1 Suc Ref Temp | C1Comp1SucTemp
Analog Input | C1C1 VFD Temp | C1Co1VfdTemp
Analog Input | C1C1 Voltage | C1Comp1Voltage
Analog Input | C1C2 Discharge Ref Temp | C1Comp2DischargeTemp
Analog Input | C1C2 Current | C1Comp2Current
Analog Input | C1C2 Discharge Ref Pres | C1Comp2DischRefPres
Analog Input | C1C2 Percent RLA | C1Comp2MotorCurrentPercent
Analog Input | C1C2 Power | C1Comp2Kilowatts
Analog Input | C1C2 Suc Ref Pres | C1Comp2SucPres
Analog Input | C1C2 Suc Ref Temp | C1Comp2SucTemp
Analog Input | C1C2 Voltage | C1Comp2Voltage
Analog Input | C2C1 Discharge Ref Temp | C2Comp1DischargeTemp
Analog Input | C2C1 Current | C2Comp1Current
Analog Input | C2C1 Oil Feed Pres | C2Comp1OilFeedPres
Analog Input | C2C1 Power | C2Comp1Kilowatts
Analog Input | C2C1 Suc Ref Temp | C2Comp1SucTemp
Analog Input | C2C1 VFD Temp | C2Co1VfdTemp
Analog Input | C2C1 Voltage | C2Comp1Voltage
Analog Input | C3C1 Discharge Ref Temp | C3Comp1DischargeTemp
Analog Input | C3C1 Current | C3Comp1Current
Analog Input | C3C1 Oil Feed Pres | C3Comp1OilFeedPres
Analog Input | C3C1 Power | C3Comp1Kilowatts
Analog Input | C3C1 Suc Ref Temp | C3Comp1SucTemp
Analog Input | C3C1 VFD Temp | C3Co1VfdTemp
Analog Input | C3C1 Voltage | C3Comp1Voltage
Analog Input | C4C1 Discharge Ref Temp | C4Comp1DischargeTemp
Analog Input | C4C1 Oil Feed Pres | C4Comp1OilFeedPres
Analog Input | C4C1 Suc Ref Temp | C4Comp1SucTemp
Analog Input | Chiller Current | ChillerCurrent
Analog Input | Circuit 1 Motor Case Temp | C1Comp2MotorGapTemp
Analog Input | Circuit 1 Motor Case Temp | C1Comp1MotorCaseTemp
Analog Input | Circuit 1 Motor Gap Temp | C1Comp1MotorGapTemp
Analog Input | Circuit 1 Rotor Pump Temp | C1Comp1RotorPumpTemp
Analog Input | Circuit 1 Rotor Pump Temp | C1Comp2RotorPumpTemp
Analog Input | Circuit 1 Stator Temp 1 | C1Comp1StatorTemp1
Analog Input | Circuit 1 Stator Temp 2 | C1Comp1StatorTemp2
Analog Input | Circuit 1 Stator Temp 3 | C1Comp1StatorTemp3
Analog Input | Circuit 1 Suc Ref Temp | C1SucTemp
Analog Input | Circuit 2 Motor Gap Temp | C1Comp2MotorGapTemp
Analog Input | Circuit 2 Stator Temp 1 | C2Comp2StatorTemp1
Analog Input | Circuit 2 Stator Temp 2 | C2Comp2StatorTemp2
Analog Input | Circuit 2 Stator Temp 3 | C2Comp2StatorTemp3
Analog Input | Cond 1 Ref Pres | Cond1RefPresInLoad
Analog Input | Cond 1 Ref Pres | Cond1RefPresUnload
Analog Input | Cond 1 Ref Pres | Cond1RefPres
Analog Input | Cond 2 Ref Pres | Cond2RefPresInLoad
Analog Input | Cond 2 Ref Pres | Cond2RefPres
Analog Input | Cond 2 Ref Pres | Cond2RefPresUnload
Analog Input | Cond 3 Ref Pres | Cond3RefPres
Analog Input | Cond 3 Ref Pres | Cond3RefPresInLoad
Analog Input | Cond 3 Ref Pres | Cond3RefPresUnload
Analog Input | Cond 4 Ref Pres | Cond4RefPres
Analog Input | Cond 4 Ref Pres | Cond4RefPresInLoad
Analog Input | Cond 4 Ref Pres | Cond4RefPresUnload
Analog Input | Cond Entering Fluid Temp | EntCondWaterTemp
Analog Input | Cond Fluid Flow Rate | CondWaterFlowRate
Analog Input | Cond Leaving Fluid Temp | LvgCondWaterTemp
Analog Input | Evap 1 Ref Pres | C1EvapRefPresStrtFail
Analog Input | Evap 1 Ref Pres | C1EvapRefPres
Analog Input | Evap 1 Ref Pres | C1EvapRefPresInHLoad
Analog Input | Evap 1 Ref Pres | C1EvapRefPresUnload
Analog Input | Evap 2 Ref Pres | C2EvapRefPresStrtFail
Analog Input | Evap 2 Ref Pres | C2EvapRefPres
Analog Input | Evap 2 Ref Pres | C2EvapRefPresInHLoad
Analog Input | Evap 2 Ref Pres | C2EvapRefPresUnload
Analog Input | Evap 3 Ref Pres | C3EvapRefPres
Analog Input | Evap 3 Ref Pres | C3EvapRefPresInHLoad
Analog Input | Evap 3 Ref Pres | C3EvapRefPresUnload
Analog Input | Evap 3 Ref Pres | C3EvapRefPresStrtFail
Analog Input | Evap 4 Ref Pres | C4EvapRefPres
Analog Input | Evap 4 Ref Pres | C4EvapRefPresStrtFail
Analog Input | Evap 4 Ref Pres | C4EvapRefPresUnload
Analog Input | Evap 4 Ref Pres | C4EvapRefPresInHLoad
Analog Input | Evap Entering Fluid Temp | EntEvapWaterTemp
Analog Input | Evap Fluid Flow Rate | EvapWaterFlowRate
Analog Input | Evap Leaving Fluid Temp | LvgEvapWaterTempUnit
Analog Input | Heat Recovery Entering Fluid Temp | HeatRecEntWaterTemp
Analog Input | Heat Recovery Leaving Fluid Temp | HeatRecLvgWaterTemp
Analog Input | Liquid Line Ref Temp | C1LiqLineRefTemp
Analog Input | Outdoor Air Temp | OutdoorAirTemp
Analog Input | Outdoor Air Temp Low | OutdoorAirTempLow
Analog Input | Total Kilowatts | ChillerKilowatts
Analog Value | Active Capacity Limit Output | ActiveCapacityLimit
Analog Value | Active Setpoint | ActiveLvgWaterTarget
Analog Value | Actual Capacity | ChillerCapacity
Analog Value | C1C1 Percent RLA | C1Comp1MotorCurrentPercent
Analog Value | C1C1 Lift Pres | C1Comp1LiftPres
Analog Value | C1C1 Lift Temp | C1Comp1LiftTemp
Analog Value | C1C1 Run Hours | C1Comp1Hours
Analog Value | C1C1 Starts | C1Comp1Starts
Analog Value | C1C2 Percent RLA | C1Comp2MotorCurrentPercent
Analog Value | C1C2 Lift Pres | C1Comp2LiftPres
Analog Value | C1C2 Lift Temp | C1Comp2LiftTemp
Analog Value | C1C2 Run Hours | C1Comp2Hours
Analog Value | C1C2 Starts | C1Comp2Starts
Analog Value | C1C3 Starts | C1Comp3Starts
Analog Value | C2C1 Percent RLA | C2Comp1MotorCurrentPercent
Analog Value | C2C1 Run Hours | C2Comp1Hours
Analog Value | C2C1 Starts | C2Comp1Starts
Analog Value | C2C2 Run Hours | C2Comp2Hours
Analog Value | C2C2 Starts | C2Comp2Starts
Analog Value | C3C1 Percent RLA | C3Comp1MotorCurrentPercent
Analog Value | C3C1 Run Hours | C3Comp1Hours
Analog Value | C3C1 Starts | C3Comp1Starts
Analog Value | C4C1 Run Hours | C4Comp1Hours
Analog Value | C4C1 Starts | C4Comp1Starts
Analog Value | Capacity Limit Setpoint - Network | NetworkCapacityLimitPct
Analog Value | Cond 1 Saturated Ref Temp | Cond1SatRefTemp
Analog Value | Cond 2 Saturated Ref Temp | Cond2SatRefTemp
Analog Value | Cond 3 Saturated Ref Temp | Cond3SatRefTemp
Analog Value | Cond 4 Saturated Ref Temp | Cond4SatRefTemp
Analog Value | Cond Pump 1 Run Hours | CondPump1RunHours
Analog Value | Cond Pump 2 Run Hours | CondPump2RunHours
Analog Value | Cool Setpoint - Network | NetworkCoolTempSetpoint
Analog Value | Evap 1 Saturated Ref Temp | C1EvapSatRefTemp
Analog Value | Evap 2 Saturated Ref Temp | C2EvapSatRefTemp
Analog Value | Evap 3 Saturated Ref Temp | C3EvapSatRefTemp
Analog Value | Evap 4 Saturated Ref Temp | C4EvapSatRefTemp
Analog Value | Fault | AVFaultAlarm
Analog Value | Fault | AVFaultAlarmCode
Analog Value | Ice Setpoint - Network | NetworkIceTempSetpoint
Analog Value | Problems | AVProblemAlarm
Analog Value | Problems | AVProblemAlarmCode
Analog Value | Pump 1 Run Hours | EvapPump1OperHours
Analog Value | Pump 2 Run Hours | EvapPump2OperHours
Analog Value | Total Kilowatts | ChillerKilowatts
Analog Value | Warnings | AVWarningAlarm
Analog Value | Warnings | AVWarningAlarmCode
Binary Input | C1C1 Unavailable | C1Cmp1Unavailable
Binary Input | C2C1 Unavailable | C2Cmp1Unavailable
Binary Input | Chiller Capacity Limited | ChillerLimited
Binary Input | Chiller Enable Output | ChillerEnableOutput
Binary Input | Chiller Enable Setpoint | ChillerEnableStp
Binary Input | Chiller Local/Network | ChillerLocalRemote
Binary Input | Chiller ON/OFF | UnitOnOff
Binary Input | Clear Alarm - Network | ClearAlarm
Binary Input | Cond Flow Switch Status | CondWaterFlowStatus
Binary Input | Cond Pump 1 Status | CondPump1State
Binary Input | Cond Pump 2 Status | CondPump2State
Binary Input | Evap Flow Switch Status | EvapWaterFlowStatus
Binary Input | Evap Pump 1 Starts | EvapPump1State
Binary Input | Evap Pump 2 Starts | EvapPump2State
Binary Input | Run Enabled | RunEnabled
MSV | Chiller Mode Output | ActiveMode
MSV | Chiller Mode Setpoint - Network | ChillerOperationMode
MSV | Chiller Status | UnitStatus
MSV | Units | Units
MSV | Waterside Economizer Enable Setpoint | WsEconStp
MSV | Waterside Economizer State | WsEconState