## Sheet1
BindName | Label
CD_SAT | SA COOLDN
DUCT_STATIC_MAX | DP MAX
DUCT_STATIC_MIN | DP MIN
DUCT_STATIC_RESET_TIMER | DP RESET TIMER
DUCT_STATIC_STEP_DN | DP STEP UP
DUCT_STATIC_STEP_UP | DP STEP DOWN
EA_DAMPER_MAX_POS | EA DAMPER MAX
EA_DAMPER_MIN_POS | EA DAMPER MIN
EXH_CFM_OFFSET | EA CFM OFFSET
FREEZE_DELAY | FREEZE DELAY
FREEZE_RECOVERY_SP | FREEZE RECOVER SP
HEATING DEADBAND | HEATING DB
HW MAX CMD | HW VALVE MAX
OA_DAMPER_MAX_POS | OA DAMPER MAX
OA_DAMPER_MIN_POS | OA DAMPER MIN
RA TEMP MIN | RA TEMP MIN
SAT_INTERVAL_S | SAT RESET TIMER
SAT_MAX | SAT MAX
SAT_MIN | SAT MIN
SAT_OCC_BASE | SAT BASE
SAT_STEP | SAT STEP
UNOCC_MIN_TEMP_SP | UNOCC MIN TEMP
VAV_POS_HIGH_LIM | VAV POS HI
VAV_POS_LOW_LIM | VAV POS LOW
WU_RA_HI | RA HI LIMIT
WU_RA_LO | RA LOW LIMIT
WU_SAT_HI | SA HI LIMIT
WU_SAT_LO | SA LO LIMIT